## Title Page
TITLE:
The MIEM Guidelines: Minimum Information for Reporting of Environmental Metabarcoding Data
AUTHORS and AFFILIATIONS
Katy E. Klymus, U.S. Geological Survey, Columbia Environmental Research Center, Columbia, Missouri, USA
Jacoby D. Baker, Monterey Bay Aquarium Research Institute, Moss Landing, California, USA
Cathryn L. Abbott, Pacific Biological Station, Fisheries and Oceans Canada, Nanaimo, British Columbia , V9T 6N7, Canada
Rachel J. Brown, U. S. Fish and Wildlife, Whitney Genetics Laboratory, Onalaska, Wisconsin, USA
Joseph M. Craine, Jonah Ventures, Boulder, Colorado, USA
Zachary Gold. NOAA Pacific Marine Environmental Laboratory, Seattle, Washington, USA
Margaret E. Hunter, U.S. Geological Survey, Wetland and Aquatic Research Center, Gainesville, Florida, USA
Mark D. Johnson, (1) Engineer Research and Development Center, Champaign, Illinois, USA and (2) Illinois Natural History Survey, University of Illinois at Urbana–Champaign, Champaign, Illinois, USA
Devin N. Jones, U.S. Geological Survey, Northern Rocky Mountain Science Center, Bozeman, Montana, USA
Michelle J. Jungbluth, San Francisco State University, Estuary & Ocean Science Center, Tiburon, California, USA
Sean P. Jungbluth, San Francisco State University, Estuary & Ocean Science Center, Tiburon, California, USA
Yer Lor, U.S. Geological Survey, Upper Midwest Environmental Sciences Center, La Crosse, Wisconsin, USA
Aaron P. Maloy, U.S. Fish and Wildlife Service, Northeast Fishery Center, Lamar, Pennsylvania, USA
Christopher M. Merkes, U.S. Geological Survey, Upper Midwest Environmental Sciences Center, La Crosse, Wisconsin, USA
Rachel Noble, University of North Carolina Chapel Hill, Departments of Earth, Marine, and Environmental Sciences and Environmental Sciences and Engineering, Chapel Hill, North Carolina, USA
Nastassia V. Patin, (1) Integrated Oceanography Division, Scripps Institution of Oceanography, University of California, San Diego, La Jolla, California, USA and (2) Southern California Coastal Water Research Project, Costa Mesa, California, USA
Adam J. Sepulveda, U.S. Geological Survey, Northern Rocky Mountain Science Center, Bozeman, Montana, USA
Stephen F. Spear, U. S. Geological Survey, Upper Midwest Environmental Sciences Center, La Crosse, Wisconsin, USA
Joshua A. Steele, Southern California Coastal Water Research Project, Costa Mesa, California, USA
Miwa Takahashi, Environomics Future Science Platform, Commonwealth Scientific and Industrial Research Organisation, Indian Oceans Marine Research Centre, Crawley, Western Australia, Australia
Alison W. Watts, University of New Hampshire, Department of Civil and Environmental Engineering, Durham, New Hampshire, USA
Susanna Theroux, Southern California Coastal Water Research Project, Costa Mesa, California, USA
KEYWORDS:
eDNA, eRNA, metadata, quality control, FAIR data standards, reproducibility
CORRESPONDING AUTHOR:
*Katy E. Klymus, U.S. Geological Survey, Columbia Environmental Research Center, 4200 New Haven Rd., Columbia MO 65201 USA; orcid.org/ 0000-0002-8843-6241; Email:kklymus@usgs.gov
ACKNOWLEDGMENTS:
The authors thank their respective research groups, collaborators and the eDNA community whose collective experiences led to the idea for this manuscript. We also thank Dr. Freya Rowland for assistance with figures and Dr. Perrotta for helpful comments on this paper.
DISCLAIMER:
Any use of trade, firm, or product names is for descriptive purposes only and does not imply endorsement by the U.S. Government. This publication represents NOAA Pacific Marine Environmental Laboratory Contribution No. 5641.
File S1. A printable checklist of data and metadata that should be reported or reported if available for environmental metabarcoding studies.
File S2. The checklist of data and metadata that should be reported or reported if available for environmental metabarcoding studies, including example entries for reference.

## File S1
Checklist of items to report for publicaiton
Step | Reporting Requirements | Reported | Step | Reporting Requirements | Reported
Methods - Laboratory Space |  |  | Methods - PCR Amplification and Library Preparation (Continued)
General laboratory space layout | Report |  | Master mix composition: Volume (μl) or concentration of template NA | Report
Contamination mitigation efforts in the laboratory | Report |  | Master mix composition: Any additives (manufacturers and volumes (μl) or concentrations) | If Applicable
Methods - Metabarcoding Assay |  |  | Amplicon visualization: Method used | If Applicable
Target gene name | Report |  | PCR clean up methods | Report
Target amplicon length | Report |  | Size selection: Method used | If Applicable
Target taxa | Report |  | Size selection: Instrumentation and manufacturer | If Applicable
Primers, sequence, reference, modifications to published primers | Report |  | Normalization: Method used | If Applicable
Assay validation | Report |  | PCR controls (Positive PCR positive mock community, Negative PCR or No-template) and indicate whether or not controls were also sequenced | Report
Methods - Environmental Sample Collection |  |  | Methods - PCR Amplification and Library Preparation (Reverse Transcription)
Number of field samples | Report |  | Reverse transcriptase reaction kit and manufacturer | Report for eRNA metabarcoding
Definition of field sample | Report |  | Reverse transcriptase reaction conditions (primers, cycling conditions, controls, amount of template) | Report for eRNA metabarcoding
Number of field sample replicates | If Applicable |  | RNA enrichment methods | Report for eRNA metabarcoding
Sampling dates | Report |  | DNA contamination evaluation and mitigation methods | Report for eRNA metabarcoding
Sampling times | If Applicable |  | Methods - Sequencing
Sampling locations/ Geographic coordinates and geodetic datum used or Non-disclosure statement | Report |  | Sequencing instrument/ platform | Report
Capture methods and materials | Report |  | Sequencing chemistry kit and manufacturer | Report
Sample processing method | Report |  | Sequencing quality control steps | Report
Volume/ Mass of sample collected | Report |  | PhiX and percentage (If using Ilumina platform) | If Applicable
Volume/ Mass of sample processed | Report |  | Methods - Bioinformatics and Reference Database
Sample preservation method | Report |  | Database creation: Source of sequences and steps to identify locus of interest | Report
Sample storage conditions | Report |  | Database creation: Method for sequence curation | Report
Sample storage duration | Report |  | Database creation: Link to database or repository | Report
Environmental parameters | If Applicable |  | Primer removal (trimming): program, version, parameters | Report
Contamination mitigation efforts in the field | Report |  | QC program: program, version, parameters | Report
Positive and Negative (Site/ Field/ Equipment) controls | Report |  | Read pair merging: program, version, parameterss | Report
Methods - Nucleic Acid Extraction |  |  | Chimera removal: program, version, parameters | Report
Extraction method (if using a commerical kit provide name of kit and manufacturer) | Report |  | Clustering: OTUs or ASVs (and thresholds) | Report
Changes/ modification to a published method or kit | Report |  | Additional filtering: removal of singletons or other methods | If Applicable
Amount of sample extracted | Report |  | Additional filtering: decontamination using sequenced controls | If Applicable
Extraction storage conditions and duration | Report |  | Taxonomic assignment method | Report
Nucleic acid quantification for each sample and method used to quantify | If Applicable |  | Taxonomic assignment parameters (and thresholds) | Report
Any subsequent clean up methods | If Applicable |  | Read normalization: methods | If Applicable
Negative extraction controls | Report |  | Results - Sequencing Summary Statistics
Positive extraction controls | If Applicable |  | Total number of raw sequence reads produced | Report
Methods - Inhibition Detection and Mitigation |  |  | Total number of reads assigned to indices | Report
PCR inhibition detection and mitigation steps | If Applicable |  | Total number of reads that made it through bioinformatic filtering | Report
Methods - PCR Amplification and Library Preparation |  |  | Total number of reads used for final/ subsequent analyses | Report
Library preparation method | Report |  | Total number of OTUs or ASVs assigned to taxa (and to what level of taxonomy) | Report
Number of PCR replicates per sample | If Applicable |  | Total number of OTUs or ASVs unassigned | Optional
Are PCR replicates pooled and indexed or indexed separately | If Applicable |  | Average number of reads per sample | Optional
Thermal cycling instrument and manufacturer | Optional |  | Minimum and maximum number of reads per sample | Optional
Thermal cycling conditions (temperatures, time at temperature, # cycles, annealing temperature(s)) | Report |  | Results from Controls | Report
Master mix composition: Final reaction volume (μl) | Report |  | Results - Data Archiving and Availability
Master mix composition: name and manufacturer | Report |  | Software and code archiving | If Applicable
Master mix composition: Taq concentration (X) | Report |  | Raw sequence data archiving | Report
Master mix composition: Final concentration of each primer (forward and reverse) | Report |  | Processed data archiving | If Applicable
Master mix composition: Volume of water added (μl) | Report

## File S2
Reporting checklist examples
Step | Examples | Reporting Requirements
Methods - Laboratory Space
General laboratory space layout | A unidirectional work flow was used with pre and post PCR spaces in separate rooms. | Report
Contamination mitigation efforts in the laboratory | Plastic consummables were placed under UV for 10 minutes, a 10% diluted sodium hypochlorite solution was used on lab benches and wiped with clean water, process designated equipment/ consummables were used for each step. | Report
Methods - Metabarcoding Assay
Target gene name | 12S rRNA gene. | Report
Target amplicon length | 163-185 bp. | Report
Target taxa | Assay targets teleost fishes. | Report
Primers, sequence, reference, modifications to published primers | Primers targeting the 12S rRNA gene were used in amplification. Primers were first presented in Miya et al. 2015 and the forward primer was modified by one nucleotide in Sales et al. 2019. | Report
Assay validation | We tested the assay using genomic samples of 20 of the 30 known sympatric fish (Table x). We found that all species for which we had genomic DNA amplified with the assay. We also tested the assay with genomic DNA samples from 10 non-target bivalve species and found no cross-amplification with these non-targets. | Report
Methods - Environmental Sample Collection
Number of field samples | A total of 50 field samples were collecetd. | Report
Definition of field sample | A field sample consisted of the preserved 0.2 μm Sterivex filters through which 1 liter stream water had been filtered. | Report
Number of field sample replicates | At each site, 10 liter water was collected and mixed in a 20 liter carboy. Three one-liter biological replicates were taken from each 10 liter sample. | If Applicable
Sampling dates | Field sampling occurred on May 1 and May 2 2024. | Report
Sampling times | Field sampling occurred between 10 am and 2 pm Pacific Standard Time on both days. | If Applicable
Sampling locations/ Geographic coordinates and geodetic datum used or Non-disclosure statement | A table listing each site and its associated latitude and longitude in degree-decimal format. Non-disclosure due to privacy/ cultural/ safety concerns is allowed, but should be reported as such. | Report
Capture methods and materials | We collected 1 liter of water through grab sample collection. Other sample collection methods and matrices inlcude but are not limited to: tow net sample, rosette sample, bulk specimen samples; soil sample, air sample, etc. | Report
Sample processing method | We filtered water samples using a 47-mm disk, 0.45 μm pore size cellulose nitrate filter. | Report
Volume/ Mass of sample collected | We filtered 1 liter of water for each sample. | Report
Volume/ Mass of sample processed | For the 1 liter filtered water samples; we cut filters in half and only extracted half the filter; thus we processed approxiamtly 500 ml of water. OR We collected 1 liter grab samples but only filtered 250 ml; whole filters were processed for extraction. | Report
Sample preservation method | Filters were stored in 2 ml cryovials with no additional buffer. | Report
Sample storage conditions | Filters were frozen immediately at -80°C and stored for 30 days before extraction. | Report
Sample storage duration | Stored filters were extracted 30 days after collection. | Report
Environmental parameters | Water temperature (°C), dissolved oxygen level (mg/l), salinity (PSU) were collected and reported in table x. | If Applicable
Contamination mitigation efforts in the field | For each sample, a previously sterilized section of tubing was connected to the pump and used for sample filtration. Care was taken not to let the tubing or filter housing touch any surfaces while assembling. | Report
Reporting checklist examples
Step | Examples | Reporting Requirements
Methods - Environmental Sample Collection (Continued)
Positive and Negative (Site/ Field/ Equipment) controls | A negative field control consisted of 1 liter milliQ water filtered with the same protocol and materials as the field samples. A positive site control was taken at a lake with known presence of the target species to verify the assay works with environmental samples. | Report
Methods - Nucleic Acid Extraction
Extraction method (if using a commerical kit provide name of kit and manufacturer) | Qiagen Spin Column kit (e.g., DNeasy Blood and Tissue - Cat# 69581); KingFisher magnetic bead extraction (e.g., ZymoBIOMICS MagBead DNA Kit - Cat# D4302). | Report
Changes/ modification to a published method or kit | Changing volume of lysis buffer to accomodate larger filter sizes. | Report
Amount of sample extracted | Reducing volume of DNA eluent to concentrate the DNA extract. E.g. We used 50 μl of buffer to elute final extraction instead of the 100 μl suggested by protocol. | Report
Extraction storage conditions and duration | DNA was stored in nuclease-free water for two weeks until amplification. | Report
Nucleic acid quantification for each sample and method used to quantify | Total genomic DNA was quantified using a Qubit 4.0 fluoremeter with a dsDNA High Sensitivity Assay kit (Invitrogen). | If Applicable
Any subsequent clean up methods | PCR templates were cleaned using a OneStep (Zymo) inhibitor cleanup kit. | If Applicable
Negative extraction controls | For each round of extractions, one negative control extraction was performed without addition of biological material. | Report
Positive extraction controls | For each round of extractions, one positive control extraction was performed to assess extraction efficiency | If Applicable
Methods - Inhibition Detection and Mitigation
PCR inhibition detection and mitigation steps | We ran a subset of our samples with a qPCR assy and IPC. We detected inhibition in half of the samples. We diluted all samples 10 fold to reduce impact of PCR inhibitors. | If Applicable
Methods - PCR Amplification and Library Preparation
Library preparation method | Samples were amplified using a two-step PCR. The first PCR amplified the target gene region with marker-specific primers the second round added Illumina index barcodes. | Report
Number of PCR replicates per sample | PCRs were performed in triplicate. | If Applicable
Are PCR replicates pooled and indexed or indexed separately | All PCR technical replicates were indexed separately to retain differences among replicates. | If Applicable
Thermal cycling instrument and manufacturer | We used CFX 96 instruments (Bio-Rad, Hercules, CA, USA) for all thermal cycling. | Optional
Thermal cycling conditions (temperatures, time at temperature, # cycles, annealing temperature(s)) | PCR thermal cycling conditions were as follows: 30 s at 98°C for initial denaturation; 38 cycles of 10 s at 98°C, 10 s at 60°C, and 30 s at 72°C; 5 min at 72°C; and infinite hold at 4°C. | Report
Master mix composition: Final reaction volume (μl) | Final reaction volume was 25 µl. | Report
Master mix composition: name and manufacturer | Taq polymerase enzyme was added from 2X Phusion Master Mix (NEB). | Report
Master mix composition: Taq concentration (X) | Final concentration of Phusion Master Mix was 1X. | Report
Reporting checklist examples
Step | Examples | Reporting Requirements
Methods - PCR Amplification and Library Preparation (Continued)
Master mix composition: Final concentration of each primer (forward and reverse) | Final concentration of both forward and reverse primers was 0.5 µm. | Report
Master mix composition: Volume of water added (μl) | 5 µl water was added to each reaction. | Report
Master mix composition: Volume (μl) or concentration of template NA | Amount of template DNA ranged between 2 and 30 ng dissolved in 2 µl nuclease-free water. OR if not quanitfying DNA extractions, 2 µl of sample extractions were added. | Report
Master mix composition: Any additives (manufacturers and volumes (μl) or concentrations) | 1 µl Bovine Serum Albumin (BSA, 10 µg/µl stock concentration) was added for a final concentration of 0.5 µg/µl. | If Applicable
Amplicon visualization: Method used | 2.5 µL of each PCR was run on a 1.8% agarose gel to confirm amplification. | If Applicable
PCR clean up methods | PCR products were purified using Beckman Coulter AMPure XP beads following the standard 1x PCR clean-up protocol. | Report
Size selection: Method used | Size selection was performed on the PCR product to extract the amplified target gene (~361 bp) and exclude off-target amplification. | If Applicable
Size selection: Instrumentation and manufacturer | Size selection was performed using a BluePippin (Sage Science). | If Applicable
Normalization: Method used | Samples were pooled in equimolar concentration for the sequencing library. Concentrations were calculated using the amplicon length and DNA concentration of PCR 2 products. | If Applicable
PCR controls (Positive PCR positive mock community, Negative PCR or No-template) and indicate whether or not controls were also sequenced | For each set of amplifications, one no-template PCR (negative control) and one reaction with genomic DNA of rainbow trout (Onchorynchus mykiss; positive control) was run alongside all environmental samples. | Report
Methods - PCR Amplification and Library Preparation (Reverse Transcription)
Reverse transcriptase reaction kit and manufacturer | We used PrimeScript II 1st strand cDNA synthesis kit (Takara Bio Inc., Shiga, Japan) to synthesize cDNA following the manufacturer's protocol. | Report for eRNA metabarcoding
Reverse transcriptase reaction conditions (primers, cycling conditions, controls, amount of template) | We denatured 1 µg of total RNA mixed with 1 µl of 50 µM oligo dT, 1 µL of 10 mM dNTPs mix, and DEPC-treated water up to 13 µl normalized template volume by incubating the mixture at 65° C for 5 minutes followed by 1 minute on ice. We then added (final concentrations) reverse transcriptase (20 U/µl), buffer (1x), DTT (5 mM), and ribonuclease inhibitor (1x) to the denatured template mixture and incubated the 20 µl reactions at 55°C for 10 minutes followed by 80°C inactivation for 10 minutes. We set up 1 positive control reaction per 20 samples using 1 µg HeLa total RNA in place of sample template and 1 negative RT reaction per 20 samples using DEPC-treated water in place of RT enzyme. | Report for eRNA metabarcoding
RNA enrichment methods | We selected for mRNA by using oligo dT for cDNA synthesis. We removed ribosomal RNA using a ribosomal RNA depletion kit (RiboMinus, ThermoFisher Scientific, Waltham, MA, USA) following the manufacturer's protocol. | Report for eRNA metabarcoding
DNA contamination evaluation and mitigation methods | We removed genomic DNA by including a DNase treatment with the RNA extraction. We verified the absence of DNA contamination by failure to amplify by PCR in the negative RT controls. We used primers that spanned exon junctions to prevent amplification of any contaminating DNA (see Table). | Report for eRNA metabarcoding
Reporting checklist examples
Step | Examples | Reporting Requirements
Methods - Sequencing
Sequencing instrument/ platform | Illumina MiSeq. | Report
Sequencing chemistry kit and manufacturer | A MiSeq Reagent Kit v2 (500 cycle) was used for 2 x 250 bp paired-end sequencing. | Report
Sequencing quality control steps | The sequencing facility removed sequencing adapters, demultiplexed samples, and removed PhiX in initial quality control steps. | Report
PhiX and percentage (If using Ilumina platform) | Libraries were sequenced with a 15% PhiX spike-in. | If Applicable
Methods - Bioinformatics and Reference Database
Database creation: Source of sequences and steps to identify locus of interest | Sequences were pulled from NCBI using rCRUX and the Miya et al. 2015 MiFish primers. | Report
Database creation: Method for sequence curation | Sequences were curated using rCRUX (Curd et al. 2024) including dereplication of identical BLAST results and assigning taxonomy to the lowest common agreement among dereplicated sequences. | Report
Database creation: Link to database or repository | The rCRUX Generated MiFish Universal 12S Expanded Reference Database was used to assign taxonomy (doi: 10.5281/zenodo.7908865). | Report
Primer removal (trimming): program, version, parameters | Primers were removed with Cutadapt v. 4.6 with the following parameters: -g "${primerF};required...${revcomp_primerR};optional", -G "${primerR};required...${revcomp_primerF};optional", -m 50, --discard-untrimmed. | Report
QC program: program, version, parameters | Sequence QC was performed with DADA2 using the "filterAndTrim" command with the following paramters: truncLen=c(110,110), maxN=0, maxEE=c(2,2), truncQ=2, rm.phix=TRUE, compress=TRUE, multithread=TRUE. | Report
Read pair merging: program, version, parameters | Read pairs were merged with DADA2 using the "mergePairs" command using the error profiles generated with "learnErrors"; both commands used default parameters. | Report
Chimera removal: program, version, parameters | Chimeras were removed from merged reads with DADA2 using the removeBimeraDenovo command with the following parameters: method="consensus", multithread=TRUE, verbose=TRUE. | Report
Clustering: OTUs or ASVs (and thresholds) | Sequences were not clustered into OTUs but denoised with DADA2 for ASV generation. | Report
Additional filtering: removal of singletons or other methods | All ASVs were retained for downstream analysis (i.e., singletons were not removed). | If Applicable
Additional filtering: decontamination using sequenced controls | We removed any taxa or clusters idenitifed in the sequenced negative control from all field samples. OR, We developed a false positive threshold using species from our mock communites that were identified in field samples and removed all reads below this threshold. | If Applicable
Taxonomic assignment method | Taxonomy was assigned using the scikit-learn naive bayes classifier as implemented in QIIME2. | Report
Taxonomic assignment parameters (and thresholds) | Taxonomy was assigned in QIIME2 using the following command with default parameters: "qiime feature-classifier classify-sklearn". | Report
Read normalization: methods | Reads were normalized with a Hellinger transformation. | If Applicable
Reporting checklist examples
Step | Examples | Reporting Requirements
Results - Sequencing Summary Statistics
Total number of raw sequence reads produced | The total number of raw sequence reads produced across all samples was 1,750,000. | Report
Total number of reads assigned to indices | The total number of reads assigned to indices was 1,490,000. | Report
Total number of reads that made it through bioinformatic filtering | The total number of filtered reads was 1,224,000. | Report
Total number of reads used for final/ subsequent analyses | The total number of filtered, non-chimeric reads was 1,110,000 | Report
Total number of OTUs or ASVs assigned to taxa (and to what level of taxonomy) | The total number of ASVs assigned to genus-level taxonomy was 898,000. | Report
Total number of OTUs or ASVs unassigned | The total number of unassigned ASVs (no taxonomic annotation at any level) was 43,012. | Optional
Average number of reads per sample | An average of 30,000 raw reads were generated per sample. | Optional
Minimum and maximum number of reads per sample | The minimum number of raw reads in a sample was 4,238 and the maximum number was 100,982. | Optional
Results from Controls | Contamination was detected in one field blank, and samples associated with that control were flagged. One negative PCR control had 250 reads assigned to non-target mammal species. Using read data from our mock community species found in our field samples, we removed reads below a threshold of 0.001 to remove false positives. | Report
Results - Data Archiving and Availability
Software and code archiving | All code for sequence processing and analysis can be found in the corresponding author's GitHub repository [LINK]. | If Applicable
Raw sequence data archiving | Raw sequences were deposted in the NCBI SRA repository under BioProject #XYZ12345678. | Report
Processed data archiving | ASV and Taxonomy tables were deposted in Zenodo under doi XYZ-123. | If Applicable